## Slide 1: Spettrometria di Massa in proteomica
Lezione 07 – Biochimica applicata

## Slide 2: Modern Mass Spectrometer (MS) Systems
MS systems used for proteomics have 4 tasks:
Create ions from analyte molecules
Separate the ions based on charge and mass
Detect ions and determine their mass-to-charge
Select and fragment ions of interest to provide structural information (MS/MS)

## Slide 3: Ionizzazione con Elettrospray
Loop
Autosampler, HPLC
Capillary Electrophoresis
Droplets Containing Solvated Ions
Ions
Vacuum
Expansion of the Ion Formation and Sampling Regions
Nitrogen Drying Gas
Atmosphere
Electrospray Needle
3-5 kV
Liquid
Nebulizing Gas
Possible Sample Inlets
Syringe Pump Sample Injection
Liquid
La spettrometria di massa rileva sempre il rapporto m/z di un composto

## Slide 4: Isotopes
Most elements have more than one stable isotope.
For example, most carbon atoms have a mass of 12 Da, but in nature, 1.1% of C atoms have an extra neutron, making their mass 13 Da.
Why do we care?
Mass spectrometers “see” the isotope peaks provided; the resolution is high enough.
If an MS instrument has resolution high enough to resolve these isotopes, better mass accuracy is achieved.

## Slide 5: Stable isotopes of most abundant elements of peptides
Element | Mass | Abundance
H | 1.0078 | 99.985%
 | 2.0141 | 0.015
C | 12.0000 | 98.89
 | 13.0034 | 1.11
N | 14.0031 | 99.64
 | 15.0001 | 0.36
O | 15.9949 | 99.76
 | 16.9991 | 0.04
 | 17.9992 | 
 |  | 0.20

## Slide 6: Massa monoisotopica
Monoisotopic mass
corresponds to
lowest mass peak
We use instruments that resolve the isotopes enabling us to accurately measure the monoisotopic mass
Monoisotopic mass; all 12C, no 13C atoms
One 13C atom
Two 13C atoms
Angiotensin I (MW = 1295.6) (M+H)+ = C62 H90 N17 O14
La massa monoisotopica di una molecola è la somma delle masse accurate per l'isotopo più abbondante di ciascun elemento presente. All'aumentare del numero di atomi di un dato elemento, aumenta anche la percentuale della popolazione di molecole che hanno uno o più atomi di un isotopo più pesante di questo elemento. Il contributo più significativo al modello di picco isotopico per i peptidi è l'isotopo 13C di carbonio (1,1%) ed azoto 15N (0,36%).

## Slide 7: Esempio: identificaione di Nociceptina
586.2
603.5
Peptide 2 (M +2H)2+
Peptide 3 (M+3H)3+
Peptide 2 (-H, +Na)
Nociceptin 1-11
Nociceptin 1-6
Nociceptin 1-17
Peptide 3: MW = 1806.6 F-G-G-F-T-G-A-R-K-S-A-R-K-L-A-N-Q
Peptide 2: MW = 1096.2 F-G-G-F-T-G-A-R-K-S-A
Peptide 1: MW = 584.2 F-G-G-F-T-G
Isotope spacing = 1.0:
Ion is singly charged: (M+H)1+ MW = 584.2
Isotope spacing = 0.5:
2+
Doubly charged: (M+2H) MW = 1096.2
Isotope spacing = 0.3: Triply charged: (M+3H)3+ MW = 1806.6
Peptide 3 (M+H)1+

## Slide 8: Discovery Proteomics: differential expression profiling by MS
Biological Samples (case vs. control)
LC-MS/MS Data Analysis
Search DB using peptide m/z and sequence
Separate and Analyze Peptides by LC-MS/MS
m/z and intensity of peptides
  rich pattern
Fragment ions for sequence
digest to peptides
fractionate peptides
Protein Mixtures
Biofluids
Tissue lysates
Peptide identity
Protein identity
Relative abundance

## Slide 9: Discovery Proteomics: differential expression profiling by MS

## Slide 10: Approccio Top-DOWN
Il campione viene analizzato intatto
 Utile per single proteine
 Distingue variazioni di sequenza
 Permette l’analisis di modificazioni combinatoriali di protein (esempio modificazione degli istoni)
 Dove non arriva
Strumentazione molto complessa (non accessibile a tutti)
Il campione richiede passaggi di purificazione precisi
Interpretazione del dato piu’ complessa e poco automatica
Copertura del proteome decisamente ridotta

## Slide 11: Approccio Bottom UP
Il campione e’ digerito da peptidasi prima della MS
Advantages:
Data acquisition easily automated
Fragmentation of tryptic peptides well understood
Reliable software available for analysis
Separation of peptides to create less complex subsets of the proteome for MS analysis is far easier than for proteins (relates to breadth and depth of coverage)
Disadvantages:
Simple relationship between peptide and protein lost
Took highly complex mixture and made it 20-100x more complex
  Puts high analytical demands on instrumentation

## Slide 12: Processamento del Campione 1
Riduzione ed Alkilazione
 stabilizzazione del campione in forma ridotta per garantire l’accesso alla digestione

## Slide 13: Processamento del Campione 2
Proteasi con elevate specificita’
 Trypsin
 Lys-C
 Staph. V8
 Asp-N
C-terminal to Arg and Lys C-terminal to Lys
C-terminal to Glu and Asp N-terminal to Asp
Proteasi a scarsa specificita’
 | Chymotrypsin | C-terminal to aromatic, aliphatic
 | Proteinase K, Thermolysis | (e.g., Tyr, Trp, Phe, Leu) C-terminal to aromatic, aliphatic

## Slide 14: Discovery Proteomics: differential expression profiling by MS
LC-MS/MS
Separate and Analyze Peptides by LC-MS/MS
m/z and intensity of peptides
  rich pattern
Fragment ions for sequence
Biological Samples
(case vs. control)
Protein Mixtures
• Biofluids
• Tissue lysates
• digest to peptides
• fractionate peptides
Data Analysis
Search DB using peptide m/z and sequence
• Peptide identity
• Protein identity
• Relative abundance

## Slide 15: Peptide Sequencing by LC/MS/MS
proteins
peptide from protein of interest
I
Q
E
F
K
L
NH
2
COOH
S
A
N
S
N
P
A
M
A
P
R
MS-1
Collision Cell
Select mass from peptide of interest
MS-2
NH
2
G
G G
COOH COOH
F F F
COOH
COOH
L L L
L
NH2 Y
NH2 Y
NH2
G G G
G
Y Y Y
G
G F
G F
NH2
COOH
L
Sequence
peptide of interest
Y
G
G
L
F
COOH
NH
2
1D or 2D LC
separation
Trypsin digest
Reduce, alkylate

## Slide 16: Quante Mass Spec?
MS/MS means using two mass analyzers (combined in one instrument) to select an analyte (ion) from a mixture, then generate fragments from it to give structural information.
HPLC
Column
MS 1
MS 2
Collision Cell (off)
MS/MS spectrum of doubly charge ion at m/z 836.5
MS or mass spectrum
intact peptide parent ions
Scan m/z 350-1200
Pass All ions
Pass All ions
Pass m/z 834-838
Collision Cell (on)
Fragment all ions
Pass All ions
MS/MS
MS

## Slide 17: Dominant fragment ions observed by collision- induced dissociation (CID) of peptides
b ions
y ions

## Slide 18: Automated Peptide Sequencing by LC/MS/MS
0
50
10 0
Relative Abundance
213.1 469.5 56 5.1 70 0 .5 10 14 .2 1119 .3
200 400 600 800 10 00 12 00 14 00
m/z
0
50
10 0
Relative Abundance
59 8 .5
471.0 698.2
897.4
968.4 119 6 .5 16 05.5
50 0 10 00 150 0 2000
m/z
RT : 0 .0 1 -­‐ 9 0 .15
15
20
25
30
35
40
70
75
80 85
90
45
T ime (min)
0
20
40
10 0
80
60
Relative Abundance
340
50 5
12 54
510
385
465
12 9 9
1150
4 15
114 5
3 35
645 695
53 5
10 15 10 6 0 10 70
295
175
116 5 1175
13 0 4
555 6 30
6 50
875 925 955
18 0 2 50
58 5
9 70
70 5
79 5 8 6 0
76 0
41 31
14 0 17 0
13 59
13 0 9
13 6 9
14 6 9
9 .54 E 7
B as e P eak F : + c F ull ms [
3 0 0 .0 0 -­‐
2 0 0 0 .0 0 ]
0
50
10 0
Relative Abundance
653.0
59 6 .7
318.2 511.0 814.7
849.5 1154 .6 13 6 1.6
50 0 10 00 150 0
m/z
0
50
10 0
Relative Abundance
156 .9 374.4 491.5 683.2 79 6 .3 897.3
200 400 600 800 10 00 12 00
m/z
0
50
10 0
Relative Abundance
59 6 .2
572 .5 641.1
443.1 54 3 .5
289.1 677.1 778 .9 892.1 1153 .0
50 0 10 00
m/z
50 0
150 0
10 00
m/z
0
50
10 0
Relative Abundance
59 6 .2
54 3 .7
600.7
677.1
8 14.6
52 0 .0
489.3
893.6 10 90 .2
658.9 MS/MS 535.8
52 6 .9MS/MS 403.9
MS/MS 493.6
MS/MS 616.6
644.0
MS/MS 500.6
0
50
10 0
Relative Abundance
712 .6
698.5
967.3
457.3 942.4 12 25.4
10 95.3
262.2 12 86 .3
50 0 10 00 150 0 2000
m/z
MS/MS 750.0
A B
Total Ion Current Trace produced during LC-MS/NL:MS
50 0
150 0
2000
m/z
50
10 0
0
Relative Abundance
5 10
535.8
403.9
493.6
616.6
10 00
A
50 0
150 0
2000
10 00
m/z
0
50
10 0
Relative Abundance
59 8 .6
755.3
471.0
954.4
119 6 .4
50 0
150 0
2000
0
50
10 0
Relative Abundance
50 55 60 65
500.6 684.6
750.0
713.0
10 00
m/z
B
1-2 sec
cycle time
MS/MS 684.6
MS/MS 713.0
“Top 4 Method” (modern MS systems can do up to “top 20”)

## Slide 19: MS/MS Search Engines: looking up the answer in the back of the book
Acquired MS/MS spectrum
Sequence Database
(translation of transcriptome)
ISLLDAQSAPLR VVEELCPTPEGK DLLLQWCWENGK ECDVVSNTIIAEK GDAVFVIDALNR VPTPNVSVVDLTNR SYLFCMENSAEK PEQSDLRSWTAK
200 400 600 800 10001200
m/z
200 400 600 800 1000 1200
m/z
correlate
Theoretical spectrum
similarity score
Best matching database peptide
Determine peptide FDR by searching reversed DB
Algorithms: Mascot, MaxQuant, SpectrumMill, X-Tandem…

## Slide 20: Rolling peptides up to the protein level
Peptide 1
Peptide 2
Prot A
Prot B
Peptide 3
Peptide 4
Peptide 5
Prot E Prot D Prot X
Prot Y Prot Z
Peptide 6
Peptide 7
Peptide 8
Peptide 9
Peptide10

## Slide 21: Examples of a Protein Centric Table (MaxQuant)
Protein IDs | Gene Names | Unique Peptides Rep01 | Sequence Coverage [%] | Mol. Weight [kDa] | Ratio H/ L | Ratio H/ L Count | p-value | 
A0ELI5 | Edc3 | 3 | 10.2 | 55.9 | 1.2 | 4 | 0.96 | 
A0MNP4 | mCG_96 84 | 1 | 3 | 33.7 | 1.0 | 1 | 0.01 | 
.03
.54
.78
.66

 A ratio that indicates a fold-change vs. a control condition
 False discovery rate or p-value statistic for each protein ratio to indicate how different from the null hypothesis (unchanged)
 A prioritized list of candidates for follow-up studies
A1A549 | Tcf3 | 3 | 5.2 | 64.0 | 1.0 | 5 0 | Pep$de | Ratio H/L
A1L013 | 2510012 J08Rik | 5 | 7.8 | 90.6 | 0.78 | 8 | APEPTIDEK | 1.0
 | mCG_20 |  |  |  |  |  | YKPSTELLIR | 1.2
A1L329 | 206 | 9 | 10.9 | 109.9 | 0.86 | 16 | EWERTHEFAASLR | 1.6
A1L3B6 | mCG_19 432 | 8 | 37.4 | 28.9 | 0.73 | 19 | IAMAPEPTIDER | 0.9
 |  |  |  |  |  |  | GWQIMNCSTYK YHTLSSVTYEHLK ISEEALARGEPEPTIDEK Median | 0.5 1.5 1.2 1.2
Protein X
Table of values organized around proteins

## Slide 22: Protein Inference Problem
protein A or protein B ??
Or both?
In bottom-up proteomics the connectivity between peptides and proteins is lost
Prot A
Peptide
Prot B
Shared peptides are more prevalent with databases of higher eukaryotes due to the presence of:
 related protein family members
 alternative splice forms
 partial sequences
Shared peptides: map to more than a single entry
in protein database

## Slide 23: Peptide Quant to Protein Quant
Pep$de | Log2 SILAC Ra$o
APEPTIDEK | 0.12
YKPSTELLIR | 0.15
EWERTHEFAASLR | 0.07
IAMAPEPTIDER | 0.21
GWQIMNCSTYK | 0.14
YHTLSSVTYEHLK | 0.29
ISEEALARGEPEPTIDEK | 0.23
EITHERWAYK | 0.22
SIMPLESEQK | 0.77
LITTLEPEPTIDER | 0.99
Protein X
 A peptide could belong to more than one protein
 Go with preponderance of the evidence to assign peptide
Occam’s razor principle
 In this case, peptide is assigned to Protein X because there are more peptides supporting it
Protein Y

## Slide 24: Relative Quantification Methods for Discovery Proteomics
Label-free quantification (1 sample at a time)
State A State B
m/z
Chemical labeling
(up to 10 samples at a time)
State A State B
m/z
Quantify Identify
Combine
Label
Metabolic labeling (SILAC) (up to 3 samples at a time)
State A (light)
State B (heavy)
Combine
Label
m/z
• Need multiple replicates • Compression (fractionate) • Limited plex-level
• Less precise at low abund. • Cost • Humans can’t be labeled
Increasing precision

## Slide 25: Label-free quantification: spectral counting or peak area
m/z
Label-free quantification
State A
State B
Detection likelihood is tied to abundance
  Results vary depending on Instrument settings and number of peptides in protein
Only reliable for moderate to highly abundant proteins
  Lots of missing data, especially for lower
abundance proteins
  Poor precision leads to high FDR
Low throughput
Every sample run separately
Triplicate analyses required for stat. confidence
Instrument time = $; not inexpensive!

## Slide 26: SILAC: Stable Isotope Labeling by Amino acids in Cell culture
Metabolic labeling (SILAC) (up to 3 samples at a time)
State A (light)
State B (heavy)
Combine
Label
m/z
Pros | Cons
Deep, highly precise quant. | Limited plex level (3 max)
Works well in most cell lines | Not practical for most model systems
Works with all PTMs | Can’t label humans
Relatively inexpensive | 
6-7 doublings in media depleted of light (12C6)lysine
State A
State B

## Slide 27
Time course of activation
  Mixing samples improves data and saves instrument time
ID of p-sites requires MS/MS
Detects some proteins associated with pY-proteins

## Slide 28: Chemical Labeling of Peptides: Multiplexed Quantification with Isobaric Mass Tag Reagents
Mass = 145
Isobaric tag reagents: stessa massa, ma diversa distribuzione di certi isotopi.
La massa e’ uguale durante la prima MS, ma cambia dopo la CID

## Slide 29: Chemical Labeling of Peptides Multiplexed Quantification with Isobaric Mass Tag Reagents
Mix Peptides from all 4 Samples: analyze by MS
same peptide from 4 different samples: Observed precursor intensity = Σ of all labeled versions
MS
m/z
MS/MS
100 150 200 250 300 350 400 450 500 550 600 650 700 750 800 850 900 950
m/z
0
10
30
RelativAe
c
90
80
e70 n
d60
a
n
u b50
390.2832
720.4188
503.3672
703.2882
20 116.1111
218.0594
614.2397
331.1429
145.1086 240.1341
200.1014
352.1475
792.3369
774.3190833.5016904.5338
404.3024
462.1813
549.2076
561.3007
112 114 116 118
m/z
0
60
40
20
100
80
116.1111
114.1108
117.1145
291.2149
40 reporter ions
Sequence informative fragment ions

## Slide 30
iTRAQ Experimental Example
DMSO
Kinase Inhib 1
Kinase Inhib 2
Kinase Inhib 3
Lyse and Digest
Label
“114”
“115”
“116”
“117”
Pool
Phosphopeptide Enrichment
LCMS
112
114
116 118
m/z
0
20
40
60
80
100
Relative Abundance
114.1107
115.1077
117.1146
112
114
118
116
m/z
0
20
40
60
80
100
Relative Abundance
116.1111
114.1108
112
114
118
116
m/z
0
20
40
60
100
Relative Abundance
116.1117
114.1112
80
11
7.1146
Peptide #1: No effect
Peptide #2: Sensitive to all inhibitors
Peptide #3: Sensitive to inhibitors 1 &
3

## Slide 31: Isobaric tag reagents with higher multiplex levels now available: increased sample throughput with high sensitivity and good quantitative fidelity
iTRAQ4
Highly consistent quantification results
3x increased throughput
9 tumor samples (4 basal; 4 luminal; 1 reference)
ref
TMT6
TMT10
Log2 basal/luminal tumors

## Slide 32: Analytical challenges of proteomics differ in important ways from transcriptional analysis
 All possible features known
 Sample is static during analysis
 All features measured
 Robust means to amplify low numbers DNA or RNA (PCR)
 Signal not detected means feature not present
 All possible features not known
 Sample is dynamic during analysis
 20-50% of features measured
 No protein PCR (analytics have to deal with enormous dynamic range)
 Signal not detected means either that feature not present or feature present but not detected
Lysozyme #1047-1064 RT: 14.18-14.47 AV: 18 NL: 5.58E3 T: FTMS + p NSI Full ms2 1431.40@35.00 [ 390.00-2000.00]
400
600
800
1000
1400
1600
1800
2000
1200
m/z
100
95
90
85
80
75
70
65
60
55
50
45
40
35
30
25
20
15
10
5
0
993.0279
1584.7555
1167.6802
1408.6818
1352.9105
1839.5064
1538.7399 1638.7799
975.5341
1081.7426
1894.6001
1773.8836
1285.7981
660.3698
1963.1184
806.9863
559.8581
915.3887
497.6919
Transcriptional Profiling MS-based Proteomics

## Slide 33: Taggin for proximity biotinilation
Metodo enzimatico per la biotinilazione di proteine,
Precise enzimi possono rendere la biotina super reattiva
Basato sulla biotina ligase di E. Coli BirA
Il target richiede una sequenza peptidica precisa (AviTag)
Reazione di BirA

## Slide 34: Tagging for proximity biotinilation: BioID
BioID: mutante di BirA incapace di trattenere Biotina-AMP
Biotina-AMP e’ immediatamente rilasciata dal sito catalitico e reagisce con tutte le ammine primarie disponibili (Arginina, Lysina, Glutammina, Asparagina)
Biotina-AMP emivita <20-10nm
Reazione relativamente lenta  15 ore

## Slide 35: Taggin for proximity biotinilation: APEX
APEX
APEX
APEX: aspartate perossidasi
Attiva biotina tiramide (fenolo)
Richiede H2O2 come cofattore
Il radicale di biotina reagisce con sequenze ricche in elettroni (specialmente residui tirosinici)
Emivita comparabile a biotina AMP
Completa la reazione in pochi minuti

## Slide 36: Tagging for proximity biotinilation: APEX

## Slide 37: Tagging for proximity biotinilation: APEX

## Slide 38: Tagging for proximity biotinilation: APEX

## Slide 39: Tagging for proximity biotinilation: APEX